# STANDARD BIDDING DOCUMENT

## FOR SUPPLY OF SKILLS LABORATORY ITEMS

### Procurement Method: Open Domestic Bidding

### Procuring & Disposing Entity: Mayanja Memorial Medical Training Institute (MTI)

### Estimated Contract Value: UGX 180,000,000

### Financial Year: 2025/2026

# SECTION 1: INVITATION FOR BIDS (IFB)

Procurement Reference No.: MTI/SUPLS/2026/01
Date of Issue: 9th March 2026

- Mayanja Memorial Medical Training Institute has allocated funds in the Financial Year 2025/2026 for the procurement of Skills laboratory items

- MTI invites sealed bids from eligible bidders for the supply and delivery of Skills laboratory items as detailed in Section 6 – Schedule of Requirements.

- Bidding shall be conducted in accordance with the Open Domestic Bidding method contained in the MTI Regulations.

- Interested eligible bidders may obtain further information from:
 Secretary, Contracts Committee
Mayanja Memorial Medical Training Institute, Telephone 0770688823

- A complete set of bidding documents may be purchased upon payment of a non-refundable fee of UGX 50,000/= [ Fifty thousand shillings].

- Bids must be delivered to:
The Administration Block

Contracts Committee Unit
Mayanja Memorial Medical Training Institute, Plot 163-169 Kizungu Road on Mile 2 Mbarara – Masaka Road, Mbarara City.

- Not later than 26th March at 3:00 pm.

- Bids will be opened in the presence of bidders’ representatives who choose to attend on 26th March 2026.

# SECTION 2: BIDDING DATA SHEET (BDS)

This section supplements the Instructions to Bidders (ITB) .

| ITB Reference | Particulars |
| --- | --- |
| ITB 1.1 | Procuring Entity: Mayanja Memorial Medical Training Institute |
| ITB 1.2 | Procurement Reference: MTI/SUPLS/2026/01 |
| ITB 4 | Eligible Bidders: Registered companies legally operating in Uganda |
| ITB 7 | Bid Security: 2% of contract value (UGX 800,000 (Bank Guarantee) valid for 90 days |
| ITB 8 | Bid Validity: 90 Days |
| ITB 9 | Language: English |
| ITB 11 | Documents Required: Administrative, Technical & Financial |
| ITB 15 | Delivery Period: 30 calendar days |
| ITB 18 | Currency: Uganda Shillings (UGX) |
| ITB 21 | Performance Security: 05% of Contract Price |
| ITB 23 | Payment Terms: Within 30 days after acceptance |

| # SECTION 3: EVALUATION CRITERIA Evaluation of bids shall be conducted in three stages: Preliminary Examination, Technical Evaluation, and Financial Evaluation, in accordance with the Institute Procurement Regulations and best procurement practice. # 3.1 Stage 1: Preliminary Examination (Mandatory – Pass/Fail) At this stage, bids will be examined to determine whether they are complete, properly signed, and substantially responsive to the mandatory administrative requirements of the bidding document. The following documents shall be required: Requirement; Compliance. Signed Bid Submission Form; Pass/Fail. Valid Bid Security (2% of estimated contract value); Pass/Fail. Certificate of Incorporation/Registration; Pass/Fail. Valid Trading License; Pass/Fail. Valid Tax Clearance Certificate (URA); Pass/Fail. Power of Attorney for Authorized Signatory (if applicable); Pass/Fail. Properly Completed Price Schedule Form; Pass/Fail. Evidence of Physical Business Address in Uganda; Pass/Fail. Note: - Bids that fail to meet any mandatory requirement shall be rejected and shall not proceed to Technical Evaluation. - Only bids that pass the Preliminary Examination will be considered for Technical Evaluation. # 3.2 Stage 2: Technical Evaluation (70 Marks) Technical evaluation will assess the bidder’s capacity, experience, and compliance with the required technical specifications. The minimum qualifying technical score shall be 50 out of 70 marks. Criteria; Description; Maximum Marks. Compliance with Technical Specifications; Degree to which proposed items conform to the specifications in Section 6.2. Full compliance supported by brochures/catalogues.; 30. Physical Condition and Quality of Items; Quality, durability, standardization and suitability for training institutions.; 10. Supplier Experience; Experience in supply of similar medical training or laboratory equipment.; 10. Similar Contracts Executed; Evidence of at least two similar supply contracts within the last 3–5 years.; 10. Warranty and After-Sales Support; Minimum warranty period, availability of technical support, replacement of defective items.; 10. Total; 70 Marks. ### Evaluation Notes - Evidence such as purchase orders, contracts, delivery notes, or completion certificates must be attached. - Bidders must provide product catalogues or manufacturer specifications for verification where applicable - Bidders scoring below 50 marks shall be eliminated from further evaluation. # 3.3 Stage 3: Financial Evaluation (30 Marks) Only bids that pass both Preliminary and Technical Evaluation stages shall be considered for Financial Evaluation. The financial score shall be calculated using the lowest evaluated price method as follows: ## Lowest Evaluated Bid Price = 30 Bidder’s Evaluated Price Item; Score. Lowest evaluated bidder; 30 Marks. Other bidders; Proportionately scored. Prices shall be evaluated inclusive of all taxes, delivery, insurance, and other associated costs. # 3.4 Final Evaluation and Contract Award The final score shall be calculated as: Final Score = Technical Score (70%) + Financial Score (30%) The contract shall be awarded to the bidder who: - Achieves the highest combined score, and - Successfully passes due diligence verification, including reference checks and verification of business legitimacy. |  |
| --- | --- |

# SECTION 4: GENERAL CONDITIONS OF CONTRACT (GCC)

These conditions shall apply in accordance with Institute Standard Conditions for Supply Contracts.

## 4.1 Definitions

- Purchaser: MTI

- Supplier: Successful Bidder

- Contract Price: Accepted Bid Price

## 4.2 Contract Documents

The following documents shall constitute the contract:

- Contract Agreement

- Letter of Award

- Bid Document

- Technical Specifications

- Price Schedule

## 4.3 Performance Security

Supplier shall furnish 5% Performance Security within 14 days of notification of award.

## 4.4 Delivery

Goods shall be delivered to MTI stores within 30 days.

## 4.5 Inspection & Acceptance

Inspection Committee shall verify:

- Correct quantities

- Right models, Instruments, equipment’s

- Specifications

## 4.6 Payment

Payment shall be made within 30 days after delivery and issuance of Acceptance Certificate.

## 4.7 Liquidated Damages

0.1% per day of delay, maximum 10% of contract price.

## 4.8 Termination

The Purchaser may terminate the contract for default, insolvency, or corrupt practices.

# SECTION 5: SPECIAL CONDITIONS OF CONTRACT (SCC)

- Damaged items shall be replaced within 7 days.

- Insurance (if any ) during transit is supplier’s responsibility.

# SECTION 6: SCHEDULE OF REQUIREMENTS

## 6.1 Scope

Supply and delivery of skills lab items for:

- Diploma in Nursing & Midwifery

- Certificate in Nursing & Midwifrey

- Diploma in Clinical Medicine

- Certificate and Diploma in Medical Laboratory Technology

## 6.2 Technical Specifications

The supplier shall provide new, high quality medical training equipment, models, instruments and accessories suitable for use in accredited health training institutions. All equipment must conform to recognized medical equipment standards and be supplied with all accessories necessary for full operation. Where applicable, items shall include user manuals and manufacturer documentation. Equipment shall carry a minimum warranty period of twelve (12) months.

Be aligned to Uganda Health Training Curriculum. Required Skills laboratory items are detailed  below which should be priced in FORM 2 attached

| CLINICAL MEDICINE AND COMMUNITY HEALTH |  |  |  |
| --- | --- | --- | --- |
| SN |  | Description / Specifications | Quantity Required |
| MODEL |  |  |  |
| 0 | Ear Model | with visible inner parts- | 2 |
| 2 | Heart Model | Life size | 2 |
| 3 | Demonstration Penis | wooden/flexible rubber | 4 |
| 4 | Catheterization Models |  | 2 |
| 5 | Pregnant Mother | pregnant uterus model | 2 |
| 6 | Abdominal Examination Model |  | 2 |
| 7 | Cervix Model |  | 2 |
| 8 | Placenta | with visible arteries and cotyledons, umblical cord attached | 2 |
| 9 | Gynecological Simulator |  | 1 |
| 10 | Digestive Model | visible inner parts | 1 |
| 11 | Aorta Model |  | 2 |
| 12 | Resuscitation Model | Respiratory | 2 |
| 13 | Buttock For Im |  | 2 |
| 14 | Baby Model/ Dolls | Unisex | 2 |
| 15 | Manikins | male and female | 2 |
|  | EQUIPMENT |  |  |
| 16 | Bp Machines(Manual) | with detached stethoscope | 8 |
| 17 | Bp Machines(Digital) | scian, rechargeable | 10 |
| 18 | Computers | desktop | 1 |
| 19 | Clocks/Timers | digital | 5 |
| 20 | Autoclaves | 20 litre sizes | 2 |
| 21 | Ambu Bag | adult & plead | 4 |
| 22 | Calculator |  | 2 |
| 23 | Glucometers | oncall | 10 |
| 24 | Goggles | plastic | 10 |
| 25 | Head Mirror/Touch | re-chargeable | 5 |
| 26 | Height Machines-Length &Height | combined | 2 |
| 27 | Oxygen Concentrator | 2 way | 1 |
| 28 | Muac Tapes | colour coded | 10 |
| 29 | Clutches-Pairs | orthopedic, adult & plead | 4 |
| 30 | First Aid Kit | medium | 5 |
| 31 | Gowns-Patient/Theatre | cotton | 10 |
| 32 | Gumboots-Pairs | white | 3 |
| 33 | Head mirror/Touch | re-chargeable | 5 |
| 34 | Hot Water Bottle | rubber | 8 |
| 35 | Ophthalmic Torch | pen tprch | 5 |
| 36 | Ophthalmoscope | set | 3 |
| 37 | Otoscopes | set | 3 |
| 38 | Partograph Board | blank board | 1 |
| 39 | Pocket Mask | medical | 10 |
| 40 | Pulsoximeters | Fingertip &neonatal | 9 |
| 41 | Stethoscopes | plead& adult | 8 |
| 42 | Stretcher | foldable | 1 |
| 43 | Thermometers | digital | 8 |
| 44 | Torch | rechargeable | 5 |
| 45 | Waste Bins& Bin Liners | plastic | 2 |
| 46 | Wheel Chairs | orthopedic | 1 |
|  | INSTRUNMENTS |  |  |
| 47 | Cheadle Forceps And Jars | stainless | 1 |
| 48 | Cotton Wool Carrier | stainless | 9 |
| 49 | Cutlery-Sets | stainless | 10 |
| 50 | Delivery Kit | packed instruments | 10 |
| 51 | Different Types Of Scissors | stainless | 45 |
| 52 | Drip Stands | factory made | 8 |
| 53 | Ear Syringes | metallic | 8 |
| 54 | Examination Trays | metallic, different sizes | 4 |
| 55 | Eye Shields | plastic | 10 |
| 56 | Glasses(Optical) | ophthalmic | 10 |
| 57 | Foreign Body Hook | stainless | 5 |
| 58 | Laryngoscopes | sets with blades | 2 |
| 59 | Mouth/Dental Mirror | stainless | 10 |
| 60 | Bed Pans | metallic | 6 |
| 61 | Fetal Scope | wooden | 8 |
| 62 | Nasal Speculum | metallic | 8 |
| 63 | Needle Holders | stainless | 10 |
| 64 | Patella Hammers | different size | 6 |
| 65 | Scalpel/Blades | different sizes | 90 |
| 66 | Spatulas | stainless | 10 |
| 67 | Sterilization Drums | stainless | 4 |
| 68 | Tongue Depressors | wooden | 8 |
| 69 | Trays(Various Sizes) | metallic | 14 |
| 70 | Trolleys | 2 &3 shelf | 8 |
| 71 | Turning Forks | metallic | 5 |
| 72 | Urinal Pans | plastic | 1 |
| 73 | Uterine Sound | stainless | 8 |
| 74 | Vaginal Speculum | cuscos&sims | 1 |
| 75 | Endotracheal Tube | different sizes | 10 |
|  | LINEN |  |  |
| 76 | Cotton Cloths | tailor made | 80 |
| 77 | Aprons |  | 10 |
| 78 | Air Rings | rubber, inflatable | 10 |
| 79 | Bed Sheets-Pairs | cotton linen | 12 |
| 80 | Cover Sheets | tailor made | 12 |
| 81 | Disinfectant Drapes | eye-towels | 20 |
| 82 | Linen Bags | plastic | 3 |
| 83 | Pillows | with cases | 8 |
| 84 | Plastic Pants | weighing | 5 |
| 85 | Soap Dishes | plastic | 6 |
| 86 | Towels | cotton linen | 50 |
| 87 | Blankets | arleady made | 8 |
| 88 | Overcoat | MTI branded | 10 |
|  | CONSUMABLES |  |  |
| 89 | Bandages | crepe& triangular | 40 |
| 90 | Catheters | 2 and 3 way | 90 |
| 91 | Chalk-Boxes | school chalk | 2 |
| 92 | Disinfectants Different Types | iodine, savlon | 10 |
| 93 | Nasal Canulas | different sizes | 10 |
| 94 | Nasogastric Tubes | different sizes | 46 |
| 95 | Enema Tubes | different sizes | 10 |
| NURSING AND MIDWIFERY |  |  |  |
| SN | Item | Description / Specifications | Quantity Required |
| 96 | Standard Hospital Bed (29 Inches/74 Cm Height) | Steel hospital bed, 74 cm height from floor to mattress platform, adjustable backrest, detachable head/foot boards, foldable side rails, 4 lockable castors, load ≥180 kg. | 1 |
| 97 | Standard Delivery Bed (29 Inches/74 Cm) | Obstetric delivery bed with adjustable backrest and leg section, Lithotomy poles, stainless steel frame, waterproof mattress, perineal cut-out, fluid tray. | 2 |
| 98 | Baby Cot | Hospital baby cot with transparent crib, steel frame, waterproof mattress, adjustable tilt, mounted on lockable castors. | 1 |
|  | BED APPLIANCES |  |  |
| 99 | Hot Water Bottle | Medical grade rubber/PVC hot water bottle, approx. 2L capacity, leak-proof screw cap. | 4 |
| 100 | Bed Table | Over-bed adjustable table, stainless steel/laminated top, height adjustable, mounted on castors. | 2 |
| 101 | Infusion Pump | Programmable digital infusion pump, flow range approx. 1–1200 ml/hr, alarms for occlusion/air/low battery, rechargeable battery. | 2 |
| 102 | Trapeze | Bed mounted trapeze bar with triangular hand grip, steel frame, patient lifting aid. | 2 |
| 103 | Side Rails | Foldable stainless steel/aluminium bed side rails with safety lock. | 2 |
| 104 | Cardiac Table | Adjustable cardiac over-bed table with tilting top and castors. | 2 |
| 105 | Bedside Locker | Metal bedside cabinet with drawer and cupboard, easy to clean. | 2 |
| 106 | Food Trolley | Stainless steel food/service trolley with 2–3 shelves and four wheels. | 4 |
| 107 | Bells | Bedside nurse call bell system with push button and audible alert. | 1 |
| 108 | Commode Chair | Steel commode chair with removable bucket, armrests and back support. | 2 |
| 109 | Y Shaped Irrigation Set | Medical irrigation tubing set with Y connector and flow control clamps. | 4 |
| 110 | Metallic Catheters | Reusable stainless steel urinary catheters, assorted sizes. | 4 |
| 111 | Assorted Rubber Tubing | Medical grade rubber/silicone tubing in assorted diameters. | 2 |
| 112 | Wall Thermometer | Wall mounted thermometer, range approx. 0–50°C. | 1 |
| 113 | Mercury Blood Pressure Machine | Clinical glass thermometer, range approx. 35–42°C. | 4 |
| 114 | Glucometer | Portable digital blood glucose meter with strips and lancets. | 2 |
| 115 | Urinometer | Glass urinometer for measuring urine specific gravity. | 4 |
| 116 | Spinomanometer | measuring preasure of cerebral spinal fluid | 2 |
| 117 | Lumbar Puncture Needles | Sterile spinal needles with stylet, sizes approx. 18–22G. | 10 |
| 118 | Infusion Pump | Programmable digital infusion pump with alarm system. | 4 |
| 119 | Sphygmomanometer | Manual/automatic BP apparatus with adult cuff. | 2 |
| 120 | Penlight Torch | LED penlight for pupil examination. | 4 |
| 121 | Snellen Chart | Standard visual acuity eye test chart for 6m distance. | 4 |
| 122 | Pain Assessment Chart (Numerical) | Laminated numeric pain rating scale chart (0–10). | 4 |
| 123 | Wong Baker Faces Chart | Faces pain rating scale chart for children. | 4 |
| 124 | INSTRUMENTS |  |  |
| 125 | Laryngoscope | Laryngoscope set with handle and assorted blades. | 2 |
| 126 | Tilley Forceps | Stainless steel ENT dressing forceps. | 6 |
| 127 | Tenaculum | Gynecological tenaculum forceps, stainless steel. | 4 |
| 128 | Vulsellum | Gynecological vulsellum forceps. | 4 |
| 129 | Underwater Seal Equipment | Chest drainage underwater seal bottle system. | 2 |
| 130 | Green-Armitage Forceps | Stainless steel surgical forceps. | 6 |
| 131 | Allis Forceps | Allis tissue holding forceps, stainless steel. | 2 |
| 132 | Abdominal Retractor | Surgical abdominal retractor, stainless steel. | 6 |
| 133 | Stitch Scissors | Surgical suture cutting scissors. | 6 |
| 134 | Stitch Removal Scissors | Scissors designed for safe removal of sutures. | 4 |
| 135 | Pulse Oximeter | Digital fingertip pulse oximeter for SpO2 and pulse rate. | 4 |
| 136 | Long Artery Forceps (Straight) | Long straight hemostatic artery forceps. | 5 |
| 137 | Long Curved Artery Forceps | Curved hemostatic artery forceps. | 5 |
| 138 | Short Straight Artery Forceps | Short straight hemostatic forceps. | 5 |
| 139 | Toothed Artery Forceps (Short) | Short toothed artery forceps. | 8 |
|  | DISECTING FORCEPS |  |  |
| 140 | Dissecting Forceps Long Straight | Long straight dissecting forceps. | 5 |
| 141 | Dissecting Forceps Long Curved | Long curved dissecting forceps. | 8 |
| 142 | Dissecting Forceps Short Straight | Short straight dissecting forceps. | 5 |
| 143 | Dissecting Forceps Short Toothed | Short toothed dissecting forceps. | 5 |
| 144 | Dressing Forceps | Mosquito/dressing forceps. | 5 |
| 145 | Sinus Forceps | Sinus surgical forceps. | 4 |
| 146 | Aural Forceps | ENT aural forceps. | 4 |
| 147 | Probe | Surgical probe. | 6 |
| 148 | Sponge Holding Forceps | Sponge holding forceps, stainless steel. | 5 |
| 149 | Mouth Gag | Surgical mouth gag instrument. | 4 |
|  | TONGUE DEPRESSER |  |  |
| 150 | Tongue Depressor Metallic | Reusable stainless steel tongue depressor. | 2 |
| 151 | Tongue Depressor Wooden | Disposable wooden tongue depressors. | 10 |
|  | AIRWAY TUBE |  |  |
| 152 | Airway Tube Metallic | Reusable metallic airway tube. | 6 |
| 153 | Airway Tube Rubber | Rubber airway tube. | 5 |
| 154 | Ear Syringe | Rubber ear syringe for ear irrigation. | 2 |
| 155 | Auroscope Set | ENT auroscope/otoscope set with light source. | 2 |
| 156 | Cheadle Forceps And Container | Cheadle sterilizing forceps with storage container. | 6 |
|  | SCISORS |  |  |
| 157 | Scissors Straight Short | Straight surgical scissors. | 10 |
| 158 | Scissors Curved Short | Curved surgical scissors. | 9 |
| 159 | Cord Scissors | Umbilical cord cutting scissors. | 10 |
| 160 | Episiotomy Scissors | Episiotomy scissors for obstetric use. | 5 |
| 161 | Ophthalmoscope Set | Diagnostic ophthalmoscope set. | 2 |
| 162 | Otoscope | ENT otoscope for ear examination. | 2 |
| 163 | Tuning Fork | Diagnostic tuning fork for hearing tests. | 2 |
| 164 | Nasal Speculum | ENT nasal speculum. | 2 |
| 165 | Patella Hammer | Reflex hammer for neurological exams. | 2 |
|  | VAGINAL SPECULUM |  |  |
| 166 | Vaginal Speculum Sims | Sims vaginal speculum. | 2 |
| 167 | Vaginal Speculum Ovard | Ovard vaginal speculum. | 2 |
| 168 | Vaginal Speculum Cusco | Cusco self-retaining vaginal speculum. | 2 |
| 169 | Proctoscope | Proctoscope for rectal examination. | 4 |
|  | INJECTION DISHES |  |  |
| 170 | Injection Dish Small | Small stainless steel injection dish. | 2 |
| 171 | Injection Dish Big | Large stainless steel injection dish. | 6 |
| 172 | Aneurysm Needle | Surgical aneurysm needle. | 2 |
| 173 | Needle Holder | Mayo-Hegar type needle holder. | 4 |
| 174 | Curved Blunt Hooks | Hooks for surgical cut-down set. | 4 |
| 175 | Oxygen Cylinder With Fittings | Medical oxygen cylinder with regulator, flow meter, humidifier and tubing. | 1 |
|  | SUNCTIONING MACHINES |  |  |
| 176 | Electric Suction Machine | Portable electric suction unit with collection jar. | 1 |
| 177 | Tracheal Dilators | Set of tracheal dilators. | 4 |
| 178 | Rubber Tubing Clip | Medical rubber tubing clamp. | 6 |
| 179 | Towel Clip | Surgical towel clip. | 4 |
| 180 | Uterine Sound | Gynecological uterine sound. | 4 |
| 181 |  |  |  |
|  | CURRATES |  |  |
| 182 | Curettes Double Sided | Double-ended uterine curettes. | 6 |
| 183 | Curettes Single | Single-ended uterine curettes. | 5 |
| 184 | Cervical Dilators | Set of cervical dilators. | 1 |
| 185 | Vaccine Carrier With Ice Packs | Insulated vaccine carrier with reusable ice packs. | 2 |
|  | TRACTION EQUIPMENT |  |  |
| 186 | Patient Stretcher | Hospital patient transport stretcher with wheels. | 2 |
| 187 | Spinal Board Stretcher | Rigid spinal board for trauma transport. | 2 |
| 188 | Splints | Assorted limb splints. | 4 |
| 189 | Gallow’S Traction | Pediatric traction set with spreader bar and cords. | 1 |
| 190 | Pulleys | Traction pulley system. | 4 |
| 191 | Weights | Traction weights set. | 4 |
| 192 | Thomas Splint | Orthopedic Thomas splint. | 2 |
| 193 | Walking Caliper Splint | Orthopedic walking caliper. | 6 |
| 194 | Plaster Bandages | POP plaster bandages for cast application. | 10 |
| 195 | Domiciliary Kits | Home care medical kit with essential instruments. | 4 |
| 196 | Delivery Kits | Sterile obstetric delivery kits. | 4 |
| 197 | First Aid Kits | Standard first aid kit with basic medical supplies. | 4 |
| 198 | Cord Clamps | Disposable umbilical cord clamps. | 10 |
| 199 | Penguin Sucker | Neonatal mucus extractor (penguin sucker). | 4 |
| 200 | Ambu Bag With Masks | Manual resuscitator with masks of various sizes. | 6 |
| 201 | Mva Set | Manual Vacuum Aspiration kit. | 6 |
| 202 | Adult Weighing Scale | Mechanical/digital adult weighing scale. | 6 |
| 203 | White Board | Wall mounted writing whiteboard. | 4 |
| 204 | Television | LED television for training/education purposes. | 1 |
| 205 | Food Trolley | Length 900-1400mm, Widith 500-700mm, Height 850- 1100mm | 2 |
| 206 | Medicine Trolleys | Length 600-750mm, Widith 400-500mm, Height 850- 1000mm | 2 |
|  | Medicine Trays | Medium, 300*200*30mm, Large 400*300*40mm(raised edges rounded corners ,smooth serface) | 6,4 |
| MEDICAL LABORATORY |  |  |  |
| 186 | Item | Description / Specifications | Quantity Required |
| 187 | Anaerobic Jars | 3.5 Litres | 3 |
| 188 | Analytical Balance | 0.02g – 5000 g | 2 |
| 189 | Binocular Microscopes | (Olympuscx23) | 4 |
| 190 | Bursen Burner |  | 10 |
| 191 | Centrifuge | (6 Buckets) | 1 |
| 192 | Colorimeter | (Electrick) | 1 |
| 193 | Cool Box) | (15 Litres With Inbuilt Thermometer | 1 |
| 194 | Fuchs Rosenthal | (Type B) | 2 |
| 195 | Grouping Tiles | (Professional Type) | 10 |
| 196 | Mechanical Mixer |  | 1 |
| 197 | Mechanical Shaker | (Type 1, Khan Model) | 1 |
| 198 | Monitoring Thermometer |  | 3 |
| 199 | Neuber Chamber | (Improved Type) | 5 |
| 200 | PH Meters | (DPC10 Portable PH) | 1 |
| 201 | Tally Counter Multiple Key | 5 | 4 |
| 202 | Tally Counter | Single Key | 5 |

## 6.3 Delivery Schedule

Delivery must be completed within 30 calendar days from contract signing.

# SECTION 7: STANDARD FORMS

- Bid Submission Form

- Price Schedule Form

- Bid Security Form

- Performance Security Form

- Contract Agreement Form

- Experience Form

- Integrity & Anti-Corruption Declaration Form

# APPROVAL

Prepared by:
Contracts Committee Unit
Mayanja Memorial Medical Training Institute

Approved by:
Institute Director/Accounting Officer
MTI

# SECTION 7: STANDARD FORMS ( Detailed Forms attached starting with Form 1,-----)

# FORM 1: BID SUBMISSION FORM

[To be completed by the Bidder]

Date: ____________
Procurement Reference No: MTI/SUPLS/2026/01

To:
The Secretary Contracts Committee
Mayanja Memorial Medical Training Institute

We, the undersigned, declare that:

- We have examined and have no reservations to the bidding documents.

- We offer to supply and deliver skills laboratory items in conformity with the bidding documents.

- Our bid shall be valid for a period of 90 days from the date fixed for bid submission.

- The total bid price is:

UGX ___________________________ (Figures)
Uganda Shillings __________________________________ (Words)

- We understand that this bid, together with your written acceptance thereof, shall constitute a binding contract.

- We understand that you are not bound to accept the lowest or any bid received.

Name of Bidder: ______________________________
Authorized Signature: _________________________
Name & Title of Signatory: ____________________
Company Seal: ________________________________

# FORM 2: PRICE SCHEDULE FORM

Procurement Reference No: MTI/SUPLS/2026/01

| Item No. | Items | Specifications | Qty | Unit Price (UGX) | Total Price (UGX) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| … |  |  |  |  |  |

Grand Total (UGX): ______________________

VAT (if applicable): __________________________

Total Bid Price (Inclusive of VAT): ___________

Name of Bidder: _______________________
Signature: _____________________________
Date: _________________________________

# FORM 3: BID SECURITY FORM (BANK GUARANTEE)

[Bank Letterhead]

Beneficiary:
Mayanja Memorial Medical Training Institute

We have been informed that __________________ (Bidder) has submitted a bid dated __________ for the supply of skills laboratory items under Procurement Reference MTI/SUPLS/2026/01.

At the request of the Bidder, we hereby irrevocably undertake to pay MTI any sum or sums not exceeding:

UGX 800,000 (Uganda Shillings Eight Hundred Thousand Only)

upon receipt of your first written demand declaring that the Bidder has:

- Withdrawn the bid during the bid validity period; or

- Failed to sign the contract; or

- Failed to furnish performance security.

This guarantee shall remain valid until ____________ (90 days from bid submission deadline).

Signed: __________________________
Name of Bank: ____________________
Official Seal: ____________________

# FORM 4: PERFORMANCE SECURITY FORM

[Bank Guarantee Format]

To:
Mayanja Memorial Medical Training Institute

WHEREAS __________________ (Supplier) has been awarded Contract No. MTI/SUPLS/2026/01 valued at UGX ___________.

We hereby guarantee payment up to:

5% of Contract Price = UGX ___________

We undertake to pay the Purchaser upon first written demand in the event of:

- Failure to perform contractual obligations

- Non-delivery or defective delivery

This guarantee shall remain valid until 20 days after completion of contract.

Bank Name: _______________________
Signature: ________________________
Official Stamp: ____________________

# FORM 5: CONTRACT AGREEMENT FORM

This Agreement is made on the ___ day of ______ 2026 between:

Mayanja Memorial Medical Training Institute (MTI)
AND
____________________________ (Supplier)

WHEREAS MTI has accepted the Supplier’s bid for the supply of skills laboratory items at the contract price of:

UGX ___________________________

NOW THIS AGREEMENT WITNESSES THAT:

- The Supplier shall supply and deliver books in accordance with the contract.

- The Purchaser shall pay the contract price upon satisfactory delivery.

Signed:

For MMMTI:
Name: ____________________
Title: Accounting Officer
Signature: ________________

For Supplier:
Name: ____________________
Title: ____________________
Signature: ________________

Witnesses:

# FORM 6: EXPERIENCE FORM

| Client Name | Contract Description | Contract Value (UGX) | Year | Contact Person | Telephone |
| --- | --- | --- | --- | --- | --- |

Attach copies of contracts or completion certificates.

# FORM 7: INTEGRITY DECLARATION FORM

We declare that:

- We have not engaged in corrupt, fraudulent, collusive, or coercive practices.

- We have no conflict of interest in this procurement.

- All information provided is true and accurate.

We understand that false declaration shall lead to disqualification and possible blacklisting under MTI regulations.

Name: __________________________
Signature: ______________________
Company Seal: __________________

# FORM 8: DELIVERY & ACCEPTANCE CERTIFICATE

Contract No: MTI/SUPLS/2026/01
Supplier: _______________________

The following goods have been delivered:

| Item | Description | Qty Delivered | Condition | Remarks |
| --- | --- | --- | --- | --- |

Inspection Committee Confirmation:

| Name | Title | Signature | Date |
| --- | --- | --- | --- |

Head of Stores: __________________
Head of Academic: ________________
Procurement Officer: _____________

Acceptance Status:
☐ Accepted
☐ Rejected